Automated Isoelectric Focusing Image Analysis for Improved Diagnosis and Classification of α1-Antitrypsin deficiency

Casey Vieni, Laura Eckelkamp, Jon Coker, Alex Popp, Melissa Snyder, David Murray, Patrick Vanderboom, Maria Willrich

Introduction: α1-Antitrypsin (AAT) deficiency, results in increased activity of neutrophil elastase, with early onset emphysema and chronic obstructive pulmonary disease. AAT is measured by nephelometry and turbidimetry. Low concentrations of AAT require additional investigation. AAT phenotyping is an isoelectric focusing (IEF) method to characterize the mobility patterns of normal and variant alleles. Some allele variants are associated with reduced AAT (S), or pathogenic, misfolded (Z) proteins compared to the normal M alleles.  Amino acid substitutions and various glycoforms lead to different IEF patterns with variation in major and minor band migration. This proof of concept study evaluated if  manual gel read out could be automated with  machine learning.

Methods: Twenty routine IEF gels (351 labelled instances) were interpreted by expert technologists. Gels were scanned (QuickScan Touch, Helena Laboratories) and manual review was considered ground truth. Following preprocessing, including image registration, background subtraction with median denoising, and lane calling and realignment, machine learning models were trained on 245 instances to classify AAT variant patterns into 5 classes based on the most common classes: M (n=184), MM1 (n=65), MZ (n=40), MS (n=37), and other (n=25). The model was validated on 106 instances (M [n=57], MM1 [n=18], MZ [n=10], MS [n=13], and other [n=8]) and evaluated with precision (proportion of correct positive predictions), recall (proportion of positives correctly identified), F1 score (harmonic mean of precision and recall), and the confusion matrix.

Results: A random forest (RF) model achieved 65% accuracy of the validation set (training set accuracy: 83% weight averaged precision=0.73, recall=0.65, F1-score=0.58). A convolutional neural network (CNN) achieved 79% accuracy of the validation set (training set accuracy = 90%). The models performed well on the most prevalent M variant (RF model: 55/57 correct, recall = 0.96, F1 = 0.75, CNN model: 55/57, recall = 0.96, F1 = 0.85) and the highly distinct MZ variant (RF model: 8/13 correct, precision = 1.0, recall = 0.62, F1 = 0.76; CNN model: 11/13, precision = 0.92, recall = 0.85, F1 = 0.88).  Limited number of samples led to poor performance in highly similar, but underrepresented variants, such as the MM1 variants (RF model: 1/18 correct, precision = 1, recall = 0.06, F1 = 0.11; CNN model: 6/18, precision=0.86, recall=0.33, F1 = 0.48), or rare variants (RF model: 1/8 correct, precision=0.33, recall = 0.12, F1=0.18; CNN model: 4/8, precision=0.8, recall = 0.5, F1 = 0.62). Singular value decomposition of gel images and feature weights of our models reveal classification was largely dominated by the minor bands.

Conclusions: The results of our pilot data suggest that increased data representation of AAT variants may improve model performance, especially when coupled to the AAT concentration. This approach may improve the efficiency of expert human review through standardizing interpretation and streamlining classification of common and/or highly distinct AAT variants..